R.T. Lim Boulevard

Zamboanga City 7000

PO Box No. 360


## *PMO-ZAMBOANGA*

*Tel Nos. 991-2037 to 2039 Fax No. 991-2360*

**SUPPLEMENTAL BID BULLETIN NO.2**

Project No. ZM 01-2015

Repair of Damaged Pavement beside PTS-I and Roro Ramp including Drainage System, Port of Zamboanga, Zamboanga City

To : All Prospective Contractors

 : Members, BAC for Engineering Projects

 : Others Concerned

Relative to the above project which was published/advertised on August 03-10, 2015, please be informed that the Correct Scope of Work are listed hereunder, to wit:

|  |  |  |  |
| --- | --- | --- | --- |
| Item No. | DESCRIPTION | QUANTITY | UNIT |
|
| A | Mobilization/Demobilization |  1.00  |  lot  |
| I | Demolition works and Disposal |  1.00  |  lot  |
| II | Excavation Works & Disposal |  5,473.10  | cu.m |
| III | Repair of Damaged Drainage System |   |   |
| a) | Formworks |  1,450.77  |  sq.m  |
| b) | Supply & Installation of Rebars |  49,497.11  | kgs |
| c) | Gravel Beddings |  66.33  | cu.m |
| d) | Concrete Works |  278.76  | cu.m |
| e) | Provision of Steel Grating for Manhole |  32.00  | set |
| V | Supply, place and compact filling materials (Item 200) |  1,604.91  | cu.m |
|  VI  | Supply, place and compact Sub-Grade filling materials (Item 201) |  1,283.93  |  cu.m  |
| VII | Portland Cement Concrete Pavement (Item 311) |  1,604.91  | cu.m |
| VIII | Repair of Damaged Fence and Gate |   |   |
| a) | Excavation Works |  3.04  | cu.m |
| b) | Formworks |  29.54  | sq.m |
| c) | Masonry works |  11.70  | sq.m |
| d) | Supply & Installation of Rebars |  331.53  | kgs |
| e) | Concrete Works |  3.50  | cu.m |
| f) | Provision of Steel Grills with painting |  7.50  | lm |
| g) | Repair of damaged gate |  7.00  | lm |
| IX | Construction Health and Safety Program |  237.00  | c.d. |

For information.

Issued this 20th day of August 2015.

THE BIDS AND AWARDS COMMITTEE:

By:

ENGR. JOHNSON D. KHO

Chairman, BAC for Engineering Projects